## 13.1.1
Table : 13.1.1
Water Quality in Different Locations of River Ganga during the year 2015-16
Station: Ganga at Baharampore West Bengal | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.28 | 0.1 | BDL | BDL | 0.15 | 0.15 | BDL | 0.17 | BDL | 0.21 | 0.16 | 0.14 | 0.28 | 0.1
Arsenic | µg/l | APR: BDL
BOD | mg/l | 5.5 | 1.85 | 7.2 | 1.4 | 5.75 | 5.75 | 6.2 | 5.7 | 0.4 | 3.4 | 1.25 | 1 | 7.2 | 0.4
Boron | mg/l | 0.25 | NT | 0.18 | NT | 0.15 | 0.15 | 0.13 | NT | NT | NT | NT | NT | 0.25 | 0.13
COD | mg/l | 9.83 | 7.13 | 16.41 | 12.84 | 19.21 | 19.21 | 16.31 | 16.47 | 11.28 | 12.8 | 10.75 | 9.14 | 19.21 | 7.13
Conductivity | µs/cm | 354 | 276 | 215 | 219 | 243 | 243 | 261 | 422 | 326 | 359 | 354 | 362 | 422 | 215
DO | mg/l | 7.2 | 7.1 | 6.6 | 7 | 6 | 6 | 7.3 | 8.2 | 6.2 | 9.1 | 8.7 | 5.8 | 9.1 | 5.8
FC | MPN/100ml | 80000 | 50000 | 70000 | 140000 | 90000 | 90000 | 80000 | 110000 | 50000 | 90000 | 70000 | 110000 | 140000 | 50000
pH | Unit | 7.88 | 8.08 | 8.07 | 7.46 | 8.05 | 8.05 | 8.05 | 8.17 | 8.27 | 8.18 | 8.29 | 8.22 | 8.29 | 7.46
Sodium | mg/l | 10 | 11 | 8 | 5 | 8 | 8 | 12 | 10 | 7 | 11 | 12 | 11 | 12 | 5
TA | mg/l | 126 | 102 | 90 | 84 | 94 | 94 | 116 | 146 | 124 | 144 | 136 | 140 | 146 | 84
TC | MPN/100ml | 110000 | 70000 | 80000 | 280000 | 140000 | 140000 | 110000 | 140000 | 70000 | 110000 | 90000 | 140000 | 280000 | 70000
TDS | mg/l | 196 | 152 | 196 | 124 | 78 | 78 | 140 | 208 | 224 | 208 | 204 | 178 | 224 | 78
TFS | mg/l | 178 | 128 | 328 | 164 | 604 | 604 | 128 | 184 | 204 | 160 | 184 | 154 | 604 | 128
TH as CaCO3 | mg/l | 148 | 144 | 139 | 111 | 106 | 106 | 109 | 106 | 116 | 148 | 185 | 171 | 185 | 106
TKN | mg/l | 3.04 |  |  | 3.58 | 3.3 | 3.3 | 3.84 | 3.68 | 3.56 | 3.98 | 5.32 | 4.72 | 5.32 | 3.04
TSS | mg/l | 30 |  |  | 12 | 526 | 526 | 174 | 56 | 72 | 66 | 88 | 18 | 526 | 12
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.1(Contd.)
Water Quality in Different Locations of River Ganga during the year 2015-16
Station: Ganga at Dakshmineswar, West Bengal | [14 empty] | Use Based Class: B
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.191 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.319 | 0.378 | 0.257 | 0.187 | 0.378 | 0.187
Arsenic | µg/l | APR: BDL
BOD | mg/l | 5 | 5.65 | 3.15 | 4.1 | 4.07 | 4 | 2.85 | 5.65 | 3.35 | 4.7 | 4.6 | 5.85 | 5.85 | 2.85
Boron | mg/l | BDL | BDL | BDL | BDl | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL
COD | mg/l | 9 | 12 | 26 | 17 | 13 | 11.2 | 8.89 | 18.62 | 19.6 | 9.68 | 10 | 10 | 26 | 8.89
Conductivity | µs/cm | 330 | 306.5 | 250.5 | 177.1 | 255 | 265.5 | 278 | 305.3 | 363.6 | 372.5 | 375.6 | 368 | 375.6 | 177.1
DO | mg/l | 6.3 | 6.2 | 5.1 | 5.1 | 4.6 | 4.5 | 5.1 | 6.8 | 7 | 8.2 | 6.4 | 6.3 | 8.2 | 4.5
FC | MPN/100ml | 80000 | 50000 | 220000 | 300000 | 400000 | 400000 | 250000 | 115000 | 80000 | 105000 | 170000 | 130000 | 400000 | 50000
pH | Unit | 7.81 | 8.03 | 7.89 | 7.7 | 7.75 | 7.8 | 7.8 | 8 | 8 | 8.1 | 8.03 | 7.93 | 8.1 | 7.7
Sodium | mg/l | 43.65 | 33.6 | 13 | 9 | 16.22 | 14 | 12 | 10 | 10 | 14 | 23.54 | 33.6 | 43.65 | 9
TA | mg/l | 134 | 150 | 102 | 78 | 84 | 80 | 114 | 142 | 138 | 136 | 160 | 164 | 164 | 78
TC | MPN/100ml | 500000 | 130000 | 500000 | 500000 | 650000 | 650000 | 400000 | 150000 | 170000 | 250000 | 500000 | 240000 | 650000 | 130000
TDS | mg/l | 196 | 218 | 176 | 260 | 186 | 166 | 202 | 8 | 228 | 226 | 228 | 258 | 260 | 8
TFS | mg/l | 140 | 204 | 194 | 180 | 164 | 256 | 280 | 32 | 238 | 308 | 296 | 230 | 308 | 32
TH as CaCO3 | mg/l | 118 | 120 | 102 | 74 | 93.07 | 89.11 | 85.15 | 134.65 | 132.67 | 132 | 158.42 | 150.5 | 158.42 | 74
TKN | mg/l
TSS | mg/l | 64 | 6 | 64 | 220 | 76 | 104 | 110 | 36 | 48 | 60 | 144 | 28 | 220 | 6
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.1(Contd.)
Water Quality in Different Locations of River Ganga during the year 2015-16
Station: Ganga at Diamond Harbour, West Bengal | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.322 | 0.234 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.174 | 0.322 | 0.174
Arsenic | µg/l | APR: BDL
BOD | mg/l | 1.2 | 5.23 | 3.19 | 1.25 | 5.18 | 11 | 4.2 | 4.25 | 2 | 2.85 | 1.5 | 3 | 11 | 1.2
Boron | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL
COD | mg/l | 12 | 21.56 | 19 | 16.79 | 13 | 25 | 13 | 35.28 | 8.82 | 7.84 | 16.79 | 36 | 36 | 7.84
Conductivity | µs/cm | 4880 | 6250 | 2985 | 290.5 | 235 | 717 | 980 | 730.5 | 1360 | 2007 | 3617 | 7549 | 7549 | 235
DO | mg/l | 6.6 | 5.5 | 6.3 | 5 | 4.2 | 5.1 | 5.2 | 6.1 | 5.9 | 7 | 7.4 | 5.9 | 7.4 | 4.2
FC | MPN/100ml | 11000 | 70000 | 17000 | 50000 | 14000 | 17000 | 30000 | 17000 | 11000 | 8000 | 17000 | 27000 | 70000 | 8000
pH | Unit | 8.08 | 7.84 | 8.37 | 7.92 | 7.86 | 7.78 | 7.8 | 7.8 | 7.87 | 8.05 | 8.1 | 8 | 8.37 | 7.78
Sodium | mg/l | 235.4 | 939.4 | 700 | 40 | 30 | 40 | 90 | 40 | 50 | 80 | 336 | 1442.26 | 1442.26 | 30
TA | mg/l | 146 | 116 | 108 | 90 | 92 | 98 | 120 | 146 | 150 | 156 | 168 | 170 | 170 | 90
TC | MPN/100ml | 22000 | 170000 | 140000 | 70000 | 80000 | 70000 | 70000 | 22000 | 17000 | 13000 | 22000 | 33000 | 170000 | 13000
TDS | mg/l | 2586 | 4176 | 1962 | 360 | 222 | 414 | 558 | 588 | 746 | 1164 | 2212 | 5438 | 5438 | 222
TFS | mg/l | 2970 | 4088 | 1630 | 300 | 254 | 414 | 712 | 458 | 744 | 1096 | 1950 | 4288 | 4288 | 254
TH as CaCO3 | mg/l | 580 | 684 | 360 | 280 | 75.27 | 120.79 | 128.71 | 174.26 | 188.12 | 196 | 443.56 | 792.08 | 792.08 | 75.27
TKN | mg/l
TSS | mg/l | 710 | 1068 | 316 | 344 | 128 | 498 | 226 | 124 | 122 | 84 | 188 | 332 | 1068 | 84
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.1(Contd.)
Water Quality in Different Locations of River Ganga during the year 2015-16
Station: Hooghly, Durgachak, Near Pathuikhali, West Bengal | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.143 | BDL | 0.127 | BDL | 0.143 | 0.127
Arsenic | µg/l | APR: BDL
BOD | mg/l | 1.4 | 1.1 | 1.25 | 2.35 | 1.7 | 0.35 | 2.45 | 1.75 | 1.55 | 1.3 | 1.4 | 0.85 | 2.45 | 0.35
Boron | mg/l | 0.178 | 0.4079 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.4079 | 0.178
COD | mg/l | 57.4 | 37.74 | 13.04 | 26.68 | 24.96 | 16.64 | 10.08 | 8.97 | 9.6 | 10.43 | 19.6 | 16 | 57.4 | 8.97
Conductivity | µs/cm | 10180 | 10170 | 9430 | 1500 | 741 | 1689 | 5497 | 5840 | 3860 | 3898 | 5420 | 13920 | 13920 | 741
DO | mg/l | 7.1 | 6.3 | 7.1 | 2.9 | 6.2 | 5.6 | 6 | 6.9 | 6.6 | 8.1 | 7.9 | 6.6 | 8.1 | 2.9
FC | MPN/100ml | 2300 | 1700 | 3000 | 17000 | 28000 | 11000 | 13000 | 17000 | 28000 | 5000 | 28000 | 28000 | 28000 | 1700
pH | Unit | 8.42 | 8.06 | 7.72 | 6.68 | 7.82 | 8.08 | 7.98 | 8.05 | 7.72 | 8.08 | 8.15 | 8.17 | 8.42 | 6.68
Sodium | mg/l | 2078 | 2281 | 2400 | 1000 | 400 | 400 | 2000 | 400 | 800 | 800 | 1476 | 2078 | 2400 | 400
TA | mg/l | 138.99 | 126.49 | 102.48 | 35.37 | 89.86 | 104.2 | 120.46 | 121.41 | 118.54 | 127.84 | 148.35 | 146.53 | 148.35 | 35.37
TC | MPN/100ml | 5000 | 11000 | 7000 | 90000 | 90000 | 50000 | 30000 | 22000 | 90000 | 17000 | 90000 | 160000 | 160000 | 5000
TDS | mg/l | 6860 | 7912 | 6506 | 1144 | 672 | 1366 |  | 4002 | 2260 | 2988 | 328 | 9584 | 9584 | 328
TFS | mg/l | 6456 | 6788 | 5966 | 1138 | 1032 | 882 |  | 3662 | 2160 | 3602 | 4304 | 8646 | 8646 | 882
TH as CaCO3 | mg/l | 1300 | 1320 | 1160 | 1060 | 134.65 | 1108.91 | 1287.13 | 755 | 540 | 640 | 717.1 | 1575.9 | 1575.9 | 134.65
TKN | mg/l
TSS | mg/l | 1648 | 622 | 866 | 308 | 760 | 588 | 1275 | 270 | 174 | 1020 | 1300 | 1380 | 1648 | 174
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.1(Contd.)
Water Quality in Different Locations of River Ganga during the year 2015-16
Station: Ganga at Garden Reach, West Bengal | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | APR: BDL; DEC: 0.101; FEB: 0.423; MAR: 0.171 | 0.423 | 0.101
Arsenic | µg/l | APR: BDL | 0 | 0
BOD | mg/l | 3.1 | 4.5 | 2.35 | 3.1 | 4 | 1.18 | 3.4 | 1.25 | 3.95 | 5.85 | 4 | 4.75 | 5.85 | 1.18
Boron | mg/l | BDL | BDL | BDL | BDl | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.1039 | 0.1039 | 0.1039
COD | mg/l | 10.78 | 8.17 | 26 | 16.29 | 20.4 | 8 | 10.86 | 2 | 8 | 19 | 6.91 | 8 | 26 | 2
Conductivity | µs/cm | 345 | 300.3 | 256.7 | 211.6 | 216 | 245 | 277.5 | 301.3 | 360 | 360.5 | 394.3 | 376.6 | 394.3 | 211.6
DO | mg/l | 5.3 | 5.7 | 4.3 | 5 | 3 | 4.2 | 5.4 | 5.3 | 6.4 | 8.3 | 8.6 | 3.9 | 8.6 | 3
FC | MPN/100ml | 110000 | 130000 | 130000 | 130000 | 700000 | 110000 | 130000 | 65000 | 70000 | 36000 | 22000 | 130000 | 700000 | 22000
pH | Unit | 8.2 | 7.91 | 7.49 | 7.91 | 7.51 | 7.66 | 7.7 | 7.95 | 8.04 | 8.07 | 8.31 | 7.85 | 8.31 | 7.49
Sodium | mg/l | 20.78 | 20.78 | 13 | 15 | 12 | 11 | 8 | 10 | 10 | 17 | 13.49 | 43.65 | 43.65 | 8
TA | mg/l | 132 | 140 | 104 | 82 | 78 | 84 | 116 | 138 | 136 | 138 | 176 | 160 | 176 | 78
TC | MPN/100ml | 170000 | 240000 | 240000 | 300000 | 1400000 | 135000 | 240000 | 115000 | 170000 | 170000 | 50000 | 300000 | 1400000 | 50000
TDS | mg/l | 180 | 198 | 200 | 184 | 286 | 182 | 212 | 228 | 234 | 222 | 240 | 252 | 286 | 180
TFS | mg/l | 194 | 210 | 274 | 166 | 172 | 166 | 332 | 174 | 254 | 410 | 210 | 256 | 410 | 166
TH as CaCO3 | mg/l | 118 | 120 | 108 | 82 | 77.23 | 83.17 | 83.17 | 126.73 | 126.73 | 132 | 154.46 | 142.57 | 154.46 | 77.23
TKN | mg/l
TSS | mg/l | 126 | 18 | 328 | 184 | 88 | 52 | 172 | 32 | 84 | 190 | 32 | 82 | 328 | 18
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.1(Contd.)
Water Quality in Different Locations of River Ganga during the year 2015-16
Station: Ganga at Howrah-Shivpur, West Bengal | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.317 | BDL | BDL | BDL | BDL | BDL | 0.116 | BDL | 0.225 | BDL | BDL | BDL | 0.317 | 0.116
Arsenic | µg/l | APR: BDL
BOD | mg/l | 2.1 | 2.2 | 2.8 | 3.4 | 1 | 3 | 5.5 | 4.2 | 3 | 3.3 | 3.15 | 3.1 | 5.5 | 1
Boron | mg/l | BDL | BDL | BDL | BDl | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL
COD | mg/l | 10.78 | 9 | 9.87 | 10.36 | 10.3 | 4.8 | 14.82 | 23.52 | 5.4 | 8.71 | 6 | 14 | 23.52 | 4.8
Conductivity | µs/cm | 331 | 308.6 | 232 | 224.5 | 208.2 | 235.5 | 285.5 | 280 | 352.68 | 382.8 | 390.7 | 370 | 390.7 | 208.2
DO | mg/l | 5.4 | 4.6 | 5 | 5.3 | 4.2 | 4.4 | 4.9 | 6.2 | 6.6 | 7.5 | 8.5 | 3.7 | 8.5 | 3.7
FC | MPN/100ml | 22000 | 34000 | 80000 | 170000 | 115000 | 115000 | 140000 | 150000 | 50000 | 80000 | 13000 | 50000 | 170000 | 13000
pH | Unit | 8.01 | 8.08 | 7.76 | 7.89 | 7.77 | 7.55 | 7.73 | 8 | 8.1 | 7.98 | 8.17 | 7.9 | 8.17 | 7.55
Sodium | mg/l | 23.54 | 33.6 | 10 | 15 | 11 | 10 | 10 | 30 | 30 | 16 | 13.49 | 43.65 | 43.65 | 10
TA | mg/l | 136 | 124 | 94 | 86 | 84 | 82 | 112 | 132 | 134 | 140 | 176 | 164 | 176 | 82
TC | MPN/100ml | 80000 | 170000 | 240000 | 500000 | 150000 | 150000 | 280000 | 350000 | 110000 | 240000 | 23000 | 80000 | 500000 | 23000
TDS | mg/l | 220 | 174 | 202 | 214 | 204 | 219 | 248 | 22 | 232 | 260 | 234 | 246 | 260 | 22
TFS | mg/l | 276 | 230 | 214 | 314 | 206 | 172 | 264 | 154 | 254 | 362 | 218 | 296 | 362 | 154
TH as CaCO3 | mg/l | 120 | 116 | 100 | 74 | 83.17 | 85.15 | 89.11 | 126.73 | 124.75 | 134 | 154.46 | 142.57 | 154.46 | 74
TKN | mg/l
TSS | mg/l | 198 | 70 | 240 | 262 | 150 | 144 | 114 | 96 | 80 | 168 | 24 | 94 | 262 | 24
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.1(Contd.)
Water Quality in Different Locations of River Ganga during the year 2015-16
Station: Ganga at Palta, West Bengal | [14 empty] | Use Based Class: B
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.24 | 0.18 | BDL | BDL | 0.16 | 0.88 | BDL | 0.1 |  | 0.31 | 0.34 | 0.19 | 0.88 | 0.1
Arsenic | µg/l | APR: BDL
BOD | mg/l | 3.58 | 2 | 1.75 | 3.1 | 2.2 | 2.1 | 4.65 | 3.25 | 2.55 | 2 | 3.45 | 2.65 | 4.65 | 1.75
Boron | mg/l | BDL | NT | 0.12 | NT | 0.03 | 0.12 | 0.1 | NT | NT | NT | NT | NT | 0.12 | 0.03
COD | mg/l | 10.27 | 7.74 | 9.15 | 8.32 | 17.98 | 14.71 | 13.62 | 11.26 | 9.55 | 11.32 | 12.44 | 10.35 | 17.98 | 7.74
Conductivity | µs/cm | 326 | 292 | 254 | 175 | 176.1 | 214 | 246 | 302 | 335 | 352 | 388 | 382 | 388 | 175
DO | mg/l | 6 | 6.2 | 6.3 | 7 | 4.1 | 5.1 | 5.7 | 7 | 6.7 | 9.2 | 9.4 | 7.6 | 9.4 | 4.1
FC | MPN/100ml | 140000 | 90000 | 110000 | 110000 | 50000 | 80000 | 80000 | 80000 | 50000 | 90000 | 90000 | 130000 | 140000 | 50000
pH | Unit | 8.47 | 8.35 | 8.16 | 7.94 | 7.75 | 7.98 | 7.98 | 7.91 | 8.29 | 8.34 | 8.31 | 7.94 | 8.47 | 7.75
Sodium | mg/l | 14 | 11 | 10 | 4 | 5 | 7 | 10 | 9 | 8 | 9 | 12 | 10 | 14 | 4
TA | mg/l | 124 | 118 | 94 | 90 | 64 | 90 | 110 | 128 | 144 | 144 | 142 | 146 | 146 | 64
TC | MPN/100ml | 220000 | 110000 | 140000 | 170000 | 70000 | 110000 | 110000 | 110000 | 80000 | 110000 | 110000 | 170000 | 220000 | 70000
TDS | mg/l | 260 | 168 | 178 | 174 | 98 | 108 | 184 | 210 | 188 | 208 | 196 | 188 | 260 | 98
TFS | mg/l | 228 | 284 | 456 | 422 | 368 | 262 | 170 | 192 | 172 | 160 | 164 | 148 | 456 | 148
TH as CaCO3 | mg/l | 130 | 139 | 148 | 102 | 93 | 102 | 105 | 116 | 111 | 167 | 194 | 181 | 194 | 93
TKN | mg/l | 2.96 | 2.36 | 2.26 | 6.64 | 5.34 | 3.3 | 3.46 | 3.58 | 3.72 | 4.02 | 4.73 | 4.44 | 6.64 | 2.26
TSS | mg/l | 110 | 156 | 256 | 242 | 286 | 132 | 130 | 68 | 68 | 190 | 52 | 78 | 286 | 52
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.1(Contd.)
Water Quality in Different Locations of River Ganga during the year 2015-16
Station: Ganga at Serampore, West Bengal | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.25 | 0.35 |  | 0.2 | 0.14 | 0.92 | 0.12 | 0.108 | BDL | BDL | 1.38 | 0.14 | 1.38 | 0.108
Arsenic | µg/l | APR: BDL
BOD | mg/l | 2.68 | 3 | 2.15 | 4.2 | 6.42 | 5.4 | 1.15 | 4.95 | 2.2 | 3.85 | 5.4 | 2.75 | 6.42 | 1.15
Boron | mg/l | BDL | NT | BDL | NT | NT | 0.13 | 0.14 | NT | NT | NT | NT | NT | 0.14 | 0.13
COD | mg/l | 10.61 | 11.83 | 9 | 11.92 | 20.15 | 18.35 | 16.15 | 16.12 | 15.22 | 26.64 | 21.46 | 11.25 | 26.64 | 9
Conductivity | µs/cm | 310 | 297 | 266 | 240 | 199.3 | 260 | 241 | 318 | 341 | 373 | 406 | 366 | 406 | 199.3
DO | mg/l | 6.5 | 6.7 | 6.5 | 4.75 | 3.6 | 7 | 5.6 | 6.8 | 7.2 | 8.9 | 5.2 | 7.9 | 8.9 | 3.6
FC | MPN/100ml | 110000 | 70000 | 80000 | 110000 | 90000 | 70000 | 70000 | 70000 | 50000 | 90000 | 110000 | 110000 | 110000 | 50000
pH | Unit | 8.54 | 8.34 | 7.91 | 7.65 | 7.82 | 7.94 | 7.87 | 7.58 | 8.26 | 8.16 | 7.62 | 8.16 | 8.54 | 7.58
Sodium | mg/l | 10 | 10 | 11 | 6 | 6 | 10 | 5 | 10 | 8 | 7 | 12 | 11 | 12 | 5
TA | mg/l | 118 | 110 | 104 | 84 | 118 | 112 | 110 | 124 | 138 | 144 | 140 | 142 | 144 | 84
TC | MPN/100ml | 140000 | 140000 | 110000 | 140000 | 110000 | 110000 | 80000 | 110000 | 70000 | 110000 | 140000 | 140000 | 140000 | 70000
TDS | mg/l | 254 | 218 | 158 | 224 | 88 | 170 | 226 | 222 | 234 | 212 | 184 | 144 | 254 | 88
TFS | mg/l | 220 | 232 | 124 | 316 | 124 | 252 | 206 | 186 | 204 | 178 | 156 | 126 | 316 | 124
TH as CaCO3 | mg/l | 167 | 167 | 157 | 116 | 88 | 97 | 100 | 106 | 116 | 157 | 176 | 167 | 176 | 88
TKN | mg/l | 3.12 | 1.96 | 1.56 | 5.1 | 4.98 | 3.78 | 3.64 | 3.76 | 3.33 | 3.86 | 3.92 | 4.12 | 5.1 | 1.56
TSS | mg/l | 78 | 120 | 92 | 274 | 86 | 26 | 176 | 102 | 46 | 48 | 68 | 18 | 274 | 18
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.1(Contd.)
Water Quality in Different Locations of River Ganga during the year 2015-16
Station: Ganga at Uluberia, West Bengal | [14 empty] | Use Based Class: A
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.219 | BDL | BDL | BDL | BDL | BDL | 0.109 | 0.201 | BDL | BDL | BDL | 0.259 | 0.259 | 0.109
Arsenic | µg/l | APR: BDL
BOD | mg/l | 1.45 | 4.55 | 3.5 | 1.25 | 4.77 | 1.2 | 2.7 | 4 | 2.8 | 6.5 | 4.9 | 4.6 | 6.5 | 1.2
Boron | mg/l | 0.1676 | BDL | BDL | BDl | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.1676 | 0.1676
COD | mg/l | 3 | 9.8 | 18 | 10.4 | 17 | 9 | 12 | 11 | 5 | 17.42 | 8.89 | 13 | 18 | 3
Conductivity | µs/cm | 1018 | 309.8 | 266.4 | 225 | 225 | 236.5 | 281 | 298.5 | 385.5 | 388.5 | 384.5 | 448.7 | 1018 | 225
DO | mg/l | 5 | 6.1 | 5.6 | 4.2 | 2.9 | 3.4 | 3.7 | 5.5 | 6 | 6.5 | 7.1 | 3 | 7.1 | 2.9
FC | MPN/100ml | 11000 | 170000 | 55000 | 23000 | 240000 | 11000 | 8000 | 8000 | 8000 | 8000 | 7000 | 4000 | 240000 | 4000
pH | Unit | 8.06 | 8.18 | 7.71 | 7.77 | 7.42 | 7.49 | 7.77 | 7.93 | 7.98 | 7.75 | 8.18 | 7.96 | 8.18 | 7.42
Sodium | mg/l | 174.39 | 43.65 | 10 | 12 | 16 | 15 | 14 | 14 | 14 | 14 | 19.45 | 63.77 | 174.39 | 10
TA | mg/l | 134 | 138 | 104 | 90 | 82 | 80 | 112 | 132 | 134 | 140 | 180 | 172 | 180 | 80
TC | MPN/100ml | 30000 | 220000 | 61000 | 50000 | 500000 | 14000 | 13000 | 17000 | 22000 | 11000 | 11000 | 11000 | 500000 | 11000
TDS | mg/l | 624 | 364 | 178 | 214 | 208 | 176 | 154 | 220 | 240 | 248 | 324 | 404 | 624 | 154
TFS | mg/l | 758 | 126 | 266 | 182 | 184 | 128 | 36 | 226 | 222 | 450 | 270 | 364 | 758 | 36
TH as CaCO3 | mg/l | 190 | 140 | 104 | 72 | 75.25 | 79.21 | 91.1 | 128.71 | 130.69 | 138 | 158.42 | 150.5 | 190 | 72
TKN | mg/l
TSS | mg/l | 334 | 272 | 138 | 180 | 42 | 12 | 4 | 28 | 18 | 282 | 24 | 178 | 334 | 4
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.1(Contd.)
Water Quality in Different Locations of River Ganga during the year 2015-16
Station:Nabadwip on Ganga, Ghoshpara near Monipurghat | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.79 | BDL | BDL | 0.62 | 0.15 | 0.15 | 0.11 | BDL | BDL | BDL | 0.14 | 0.21 | 0.79 | 0.11
Arsenic | µg/l | APR: BDL
BOD | mg/l | 1.25 | 2.85 | 3.2 | 2.05 | 2.4 | 4.93 | 3 | 1.65 | 2.8 | 3.3 | 3.45 | 1 | 4.93 | 1
Boron | mg/l | 0.15 | NT | BDL | NT | NT | 0.09 | 0.08 | 0.04 | NT | NT | NT | NT | 0.15 | 0.04
COD | mg/l | 10.7 | 8.26 | 8.4 | 7.21 | 13.72 | 13.14 | 11.25 | 6.83 | 8.26 | 11.41 | 11.57 | 8.45 | 13.72 | 6.83
Conductivity | µs/cm | 329 | 433 | 252 | 153.1 | 175.8 | 193 | 235 | 274 | 316 | 344 | 359 | 378 | 433 | 153.1
DO | mg/l | 7.1 | 6.8 | 6.6 | 5.2 | 5.2 | 5.5 | 6.5 | 7.15 | 7.7 | 9.3 | 9.4 | 6.8 | 9.4 | 5.2
FC | MPN/100ml | 70000 | 70000 | 70000 | 70000 | 90000 | 80000 | 80000 | 110000 | 80000 | 70000 | 90000 | 110000 | 110000 | 70000
pH | Unit | 8.57 | 7.64 | 8.21 | 7.72 | 7.76 | 8.03 | 8.38 | 8.11 | 8.23 | 8.45 | 8.37 | 8.12 | 8.57 | 7.64
Sodium | mg/l | 9 | 11 | 10 | 4 | 5 | 7 | 11 | 9 | 8 | 10 | 12 | 10 | 12 | 4
TA | mg/l | 120 | 110 | 96 | 60 | 66 | 78 | 134 | 114 | 126 | 136 | 130 | 188 | 188 | 60
TC | MPN/100ml | 110000 | 110000 | 80000 | 110000 | 110000 | 110000 | 110000 | 140000 | 110000 | 90000 | 110000 | 140000 | 140000 | 80000
TDS | mg/l | 260 | 160 | 160 | 134 | 90 | 256 | 204 | 172 | 208 | 180 | 152 | 244 | 260 | 90
TFS | mg/l | 228 | 182 | 208 | 272 | 274 | 382 | 188 | 156 | 188 | 156 | 126 | 208 | 382 | 126
TH as CaCO3 | mg/l | 116 | 130 | 134 | 120 | 93 | 102 | 105 | 111 | 125 | 153 | 190 | 167 | 190 | 93
TKN | mg/l | 2.5 | 2.44 | 2.64 | 4.38 | 3.98 | 2.38 | 2.64 | 3.44 | 3.44 | 4.12 | 5.23 | 4.68 | 5.23 | 2.38
TSS | mg/l | 70 | 184 | 142 | 130 | 222 | 130 | 66 | 112 | 90 | 38 | 36 | 120 | 222 | 36
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.1(Concld.)
Water Quality in Different Locations of River Ganga during the year 2015-16
Station:Tribeni on Ganga, near Burning Ghat | [14 empty] | Use Based Class: B
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.11 | 0.4 | BDL | 0.16 | 0.21 | 0.83 | 0.79 | BDL | BDL | 0.33 | 0.26 | 0.11 | 0.83 | 0.11
Arsenic | µg/l | APR: BDL
BOD | mg/l | 1.88 | 6.1 | 1.9 | 2.25 | 2.75 | 1.6 | 4.3 | 2.65 | 4.55 | 4.2 | 4.9 | 3.9 | 6.1 | 1.6
Boron | mg/l | BDL | NT | BDL | 0.02 | 0.08 | 0.25 | 0.16 | NT | NT | NT | NT | NT | 0.25 | 0.02
COD | mg/l | 12.18 | 15.74 | 11.2 | 7.84 | 18.93 | 11.19 | 12.25 | 15.41 | 15.98 | 16.83 | 18.19 | 12.81 | 18.93 | 7.84
Conductivity | µs/cm | 331 | 282 | 272 | 167.2 | 178.1 | 214 | 272 | 292 | 339 | 378 | 371 | 402 | 402 | 167.2
DO | mg/l | 7.1 | 4.6 | 6.3 | 4.9 | 3.3 | 3.6 | 6 | 6.85 | 7.7 | 8.6 | 9.6 | 7.5 | 9.6 | 3.3
FC | MPN/100ml | 70000 | 70000 | 70000 | 70000 | 70000 | 50000 | 80000 | 70000 | 70000 | 80000 | 70000 | 110000 | 110000 | 50000
pH | Unit | 8.63 | 8.44 | 8.19 | 7.78 | 8.04 | 7.9 | 8.19 | 7.92 | 8.04 | 8.31 | 8.52 | 8.18 | 8.63 | 7.78
Sodium | mg/l | 10 | 9 | 10 | 4 | 5 | 9 | 7 | 10 | 9 | 7 | 12 | 12 | 12 | 4
TA | mg/l | 122 | 114 | 94 | 62 | 68 | 86 | 120 | 126 | 144 | 156 | 144 | 148 | 156 | 62
TC | MPN/100ml | 140000 | 110000 | 90000 | 110000 | 80000 | 70000 | 110000 | 80000 | 90000 | 110000 | 90000 | 140000 | 140000 | 70000
TDS | mg/l | 248 | 220 | 224 | 194 | 70 | 176 | 176 | 178 | 220 | 184 | 162 | 222 | 248 | 70
TFS | mg/l | 214 | 512 | 270 | 222 | 270 | 298 | 160 | 154 | 196 | 156 | 134 | 204 | 512 | 134
TH as CaCO3 | mg/l | 162 | 171 | 162 | 102 | 97 | 102 | 105 | 111 | 120 | 153 | 171 | 171 | 171 | 97
TKN | mg/l | 2.32 | 2.5 | 2.38 | 4.06 | 2.7 | 3.52 | 3.44 | 3.7 | 3.52 | 3.74 | 3.86 | 3.98 | 4.06 | 2.32
TSS | mg/l | 124 | 224 | 102 | 12 | 224 | 96 | 268 | 86 | 72 | 64 | 56 | 84 | 268 | 12
BOD | Bio-Chemical Oxygen Demand | [13 empty] | Source : West Bengal Pollution Control Board
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)