## 13.1.11
Table : 13.1.11
Water Quality of River Karola during the year 2015-16
Station: Karola,D/s of Jalpaiguri, near Min Bhawan | [11 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL
Arsenic | µg/l | APR: BDL
BOD | mg/l | 1.8 | 1.6 | 1.8 | 1.1 | 1.5 | 1.8 | 1.8 | 2.1 | 1 | 1.2 | 1.6 |  | 2.1 | 1
Boron | mg/l | 0.007 | 0.003 | BDL | 0.013 | 0.017 | BDL | 0.002 | 0.003 | 0.005 | 0.005 | 0.006 |  | 0.017 | 0.002
COD | mg/l | 8.2 | 5.2 | 7.28 | 8 | 7 | 13 | 11 | 12.48 | 14.4 | 7 | 9.2 |  | 14.4 | 5.2
Conductivity | µs/cm | 127.6 | 103.4 | 101.7 | 78.58 | 101.7 | 93.8 | 169.4 | 89.94 | 98.24 | 97.15 | 138.5 |  | 169.4 | 78.58
DO | mg/l | 7.8 | 4.7 | 5 | 5.9 | 6 | 5.5 | 6.5 | 5.6 | 6.5 | 8.4 | 7.4 |  | 8.4 | 4.7
FC | MPN/100ml | 2700 | 1300 | 2700 | 3300 | 2600 | 3000 | 5000 | 7000 | 2700 | 3400 | 22000 |  | 22000 | 1300
pH | Unit | 7.2 | 7.1 | 7.04 | 6.97 | 6.95 | 7.43 | 7.05 | 7.53 | 7.61 | 7.46 | 7.83 |  | 7.83 | 6.95
Sodium | mg/l | 5.73 | 5.37 | 6 | 7 | 6 | 5 | 5 | 1 | 6 | 8 | 8.38 | 8.38 | 8.38 | 1
TA | mg/l | 36 | 48 | 48 | 30 | 32 | 96 | 54 | 32 | 56 | 80 | 82 |  | 96 | 30
TC | MPN/100ml | 9000 | 5000 | 11000 | 30000 | 22000 | 17000 | 14000 | 17000 | 11000 | 14000 | 90000 |  | 90000 | 5000
TDS | mg/l | 67 | 107 | 86 | 70 | 41 | 98 | 86 | 84 | 123 | 94 | 215 |  | 215 | 41
TFS | mg/l | 42 | 238 | 14 | 58 | 40 | 54 | 40 | 11.6 | 68 | 42 | 88 |  | 238 | 11.6
TH as CaCO3 | mg/l | 30 | 40 | 36 | 20 | 46 | 26 | 28 | 40 | 64 | 36 | 68 |  | 68 | 20
TKN | mg/l
TSS | mg/l | 12 | 32 | 38 | 16 | 66 | 62 | 64 | 20 | 8 | 20 | 46 |  | 66 | 8
BOD | Bio-Chemical Oxygen Demand | [13 empty] | Source : West Bengal Pollution Control Board
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)