## 13.1.13
Table : 13.1.13
Water Quality of River Barakar during the year 2015-16
Station: Barakar at Asansol ( Water Intake Point ), West Bengal | [11 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.051 | 0.044 | 0.32 | 0.326 | 0.08 | 0.089 | NT | 0.95 | 0.11 | 0.31 | 0.03 | 0.35 | 0.95 | 0.03
Arsenic | µg/l | bar: APR
BOD | mg/l | 2.1 | 1.9 | 1.2 | 1.4 | 4 | 1.7 | 1.1 | 2.1 | 3.1 | 1 | 3.3 | 2.9 | 4 | 1
Boron | mg/l | NT | NT | NT | NT | BDL | BDL | BDL | BDL | BDL | BDL | NT | BDL
COD | mg/l | 7 | 12.63 | 3.62 | 6.66 | 9.11 | 16 | 8.1 | 4.28 | 5.12 | 3.66 | 10 | 6.67 | 16 | 3.62
Conductivity | µs/cm | 223 | 230 | 287 | 175 | 130 | 183 | 231 | 219 | 232 | 223 | 290 | 255.9 | 290 | 130
DO | mg/l | 8.3 | 8.1 | 7.2 | 7 | 7.8 | 6.5 | 8.3 | 9.4 | 10.9 | 8.4 | 11.7 | 11.8 | 11.8 | 6.5
FC | MPN/100ml | 5000 | 28000 | 35000 | 13000 | 1700 | 35000 | 3300 | 3400 | 3000 | 2200 | 1400 | 8000 | 35000 | 1400
pH | Unit | 7.74 | 8.46 | 8.07 | 7.76 | 7.65 | 8.1 | 7.61 | 8.22 | 7.9 | 7.96 | 7.79 | 7.85 | 8.46 | 7.61
Sodium | mg/l | 15 | 16 | 20 | 11 | 9 | 10 | 17 | 17 | 18 | 15 | 17 | 14 | 20 | 9
TA | mg/l | 110 | 80 | 100 | 210 | 200 | 210 | 250 | 210 | 190 | 170 | 150 | 170 | 250 | 80
TC | MPN/100ml | 8000 | 35000 | 160000 | 28000 | 3400 | 160000 | 3400 | 160000 | 5000 | 5000 | 1700 | 11000 | 160000 | 1700
TDS | mg/l | 128 | 126 | 210 | 144 | 108 | 138 | 166 | 102 | 184 | 80 | 194 | 102 | 210 | 80
TFS | mg/l | 96 | 80 | 88 | 132 | 82 | 70 | 56 | 68 | 148 | 64 | 108 | 90 | 148 | 56
TH as CaCO3 | mg/l | 75 | 90 | 75 | 100 | 110 | 95 | 105 | 135 | 125 | 105 | 115 | 105 | 135 | 75
TKN | mg/l
TSS | mg/l | 18 | 16 | 36 | 70 | 150 | 48 | 10 | 12 | 12 | 16 | 14 | 14 | 150 | 10
BOD | Bio-Chemical Oxygen Demand | [13 empty] | Source : West Bengal Pollution Control Board
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)