## 13.1.15
Table : 13.1.15
Water Quality in Different Locations of River Dwarka during the year 2015-16
Station:D/s of Tarapith on River Dwarka, Satighat | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 4.42 | 3.12 | 6.5 | 0.154 | 0.015 | 0.38 | NT | 0.73 | 0.79 | 6.65 | 6.93 | 1 | 6.93 | 0.015
Arsenic | µg/l | APR: BDL
BOD | mg/l | 5.4 | 3.2 | 5.2 | 2.4 | 2.8 | 2.9 | 3.6 | 2.9 | 3.35 | 2.8 | 4 | 3.8 | 5.4 | 2.4
Boron | mg/l | NT | BDL | NT | BDL | 0.108 | BDL | BDL | BDL | BDL | BDL | NT | NT | 0.108 | 0.108
COD | mg/l | 37.74 | 30.36 | 21.12 | 13.33 | 6.36 | 25.11 | 5.1 | 8.32 | 7.7 | 33.04 | 37.76 | 19.89 | 37.76 | 5.1
Conductivity | µs/cm | 922 | 1121 | 847 | 158 | 116 | 150 | 205 | 257 | 276 | 822.6 | 946 | 955.2 | 1121 | 116
DO | mg/l | 6 | 3.9 | 6 | 6.3 | 6.6 | 7.5 | 7.7 | 12 | 8.4 | 4.8 | 6.9 | 9.2 | 12 | 3.9
FC | MPN/100ml | 800 | 17000 | 13000 | 11000 | 17000 | 28000 | 3400 | 17000 | 5000 | 2200 | 900 | 3400 | 28000 | 800
pH | Unit | 7.47 | 7.93 | 8.13 | 7.29 | 7.6 | 7.5 | 7.5 | 8.25 | 7.66 | 7.35 | 8.79 | 7.75 | 8.79 | 7.29
Sodium | mg/l | 52 | 59 | 59 | 10 | 7 | 10 | 17 | 21 | 22 | 52 | 76 | 54 | 76 | 7
TA | mg/l | 370 | 340 | 320 | 130 | 170 | 150 | 140 | 140 | 170 | 130 | 150 | 170 | 370 | 130
TC | MPN/100ml | 1100 | 22000 | 17000 | 90000 | 35000 | 160000 | 3400 | 160000 | 24000 | 8000 | 2700 | 35000 | 160000 | 1100
TDS | mg/l | 624 | 634 | 456 | 170 | 78 | 186 | 144 | 164 | 170 | 442 | 526 | 484 | 634 | 78
TFS | mg/l | 502 | 470 | 250 | 158 | 60 | 272 | 36 | 40 | 162 | 350 | 418 | 368 | 502 | 36
TH as CaCO3 | mg/l | 310 | 280 | 125 | 130 | 110 | 130 | 150 | 180 | 200 | 250 | 240 | 180 | 310 | 110
TKN | mg/l
TSS | mg/l | 28 | 34 | 62 | 126 | 180 | 54 | 28 | 14 | 18 | 22 | 38 | 16 | 180 | 14
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.15(Concld.)
Water Quality in Different Locations of River Dwarka during the year 2015-16
Station: Station:U/s of Tarapith on River Dwarka at Sadhat Bamdeb Ghat | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 7.18 | 3.71 | 6.33 | 0.192 | 0.015 | 0.72 | BDL | 0.57 | 0.61 | 6.71 | 16.1 | 0.97 | 16.1 | 0.015
Arsenic | µg/l | APR: BDL
BOD | mg/l | 3.7 | 10.5 | 7.2 | 4.1 | 4.3 | 4.6 | 3.9 | 3.9 | 5.5 | 5.3 | 6 | 4.4 | 10.5 | 3.7
Boron | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | 0.09 | 0.096 | 0.09 | 0.09 | NT | NT | 0.096 | 0.09
COD | mg/l | 55.08 | 72.68 | 21.12 | 17.14 | 7.52 | 4.96 | 5.1 | 5.82 | 8.99 | 35.87 | 48 | 18.96 | 72.68 | 4.96
Conductivity | µs/cm | 983 | 930 | 848 | 123 | 117 | 155 | 229 | 393 | 252 | 783.3 | 1016 | 944.7 | 1016 | 117
DO | mg/l | 4.2 | 10.7 | 8.2 | 6.7 | 6.5 | 7.6 | 7.8 | 9.2 | 10.1 | 6.2 | 6.5 | 11.2 | 11.2 | 4.2
FC | MPN/100ml | 2200 | 8000 | 5000 | 28000 | 17000 | 28000 | 14000 | 3000 | 3300 | 1300 | 35000 | 3400 | 35000 | 1300
pH | Unit | 7.44 | 7.88 | 8.04 | 7.31 | 7.54 | 7.43 | 7.5 | 8.28 | 7.79 | 7.69 | 8.65 | 7.93 | 8.65 | 7.31
Sodium | mg/l | 58 | 56 | 58 | 10 | 8 | 10 | 18 | 19 | 21 | 54 | 74 | 52 | 74 | 8
TA | mg/l | 340 | 320 | 280 | 250 | 220 | 230 | 160 | 180 | 150 | 170 | 190 | 230 | 340 | 150
TC | MPN/100ml | 2200 | 13000 | 8000 | 160000 | 35000 | 160000 | 17000 | 11000 | 3400 | 2300 | 160000 | 8000 | 160000 | 2200
TDS | mg/l | 458 | 464 | 492 | 126 | 18 | 132 | 160 | 138 | 176 | 408 | 474 | 454 | 492 | 18
TFS | mg/l | 424 | 354 | 398 | 112 | 16 | 134 | 48 | 42 | 162 | 346 | 438 | 410 | 438 | 16
TH as CaCO3 | mg/l | 160 | 190 | 105 | 100 | 130 | 150 | 170 | 150 | 170 | 160 | 180 | 150 | 190 | 100
TKN | mg/l
TSS | mg/l | 62 | 112 | 50 | 110 | 172 | 108 | 24 | 24 | 42 | 64 | 116 | 26 | 172 | 24
BOD | Bio-Chemical Oxygen Demand | [13 empty] | Source : West Bengal Pollution Control Board
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)