## 13.1.2
Table : 13.1.2
Water Quality of River Shilabati during the year 2015-16
Station:D/s of Silabati at Ghatal | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | 0.108 | 0.132 | 0.174 | BDL | BDL | BDL | 0.174 | 0.108
Arsenic | µg/l | APR: BDL
BOD | mg/l | 1.4 | 1.4 | 2.25 | 1.5 | 1.9 | 1.2 | 2.65 | 2.15 | 1.6 | 3.05 | 1.9 | 1.9 | 3.05 | 1.2
Boron | mg/l | 0.2184 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.2184 | 0.2184
COD | mg/l | 24.84 | 6.43 | 13.73 | 11.96 | 15.6 | 8.32 | 10.8 | 9.7 | 8.57 | 13.71 | 9.8 | 6 | 24.84 | 6
Conductivity | µs/cm | 313 | 199.4 | 193 | 125.7 | 139.1 | 130 | 121 | 191.3 | 209 | 216 | 417 | 428 | 428 | 121
DO | mg/l | 5.1 | 6 | 5.9 | 4.6 | 4.8 | 6.2 | 6.7 | 7.8 | 7.6 | 7.3 | 6.3 | 6 | 7.8 | 4.6
FC | MPN/100ml | 1300 | 3000 | 17000 | 8000 | 5000 | 5000 | 2600 | 17000 | 11000 | 14000 | 11000 | 14000 | 17000 | 1300
pH | Unit | 8.39 | 8.17 | 7.92 | 7.61 | 7.36 | 7.65 | 7.92 | 7.54 | 7.95 | 7.78 | 8.08 | 8.14 | 8.39 | 7.36
Sodium | mg/l | 43.65 | 13.42 | 17 | 12 | 10 | 11 | 9 | 10 | 15 | 6 | 114.05 | 53.71 | 114.05 | 6
TA | mg/l | 95.2 | 72.35 | 62.22 | 43.98 | 53.54 | 61.18 | 71.7 | 70.19 | 65.8 | 82.72 | 110.09 | 123.39 | 123.39 | 43.98
TC | MPN/100ml | 2200 | 5000 | 30000 | 17000 | 11000 | 24000 | 7000 | 22000 | 17000 | 160000 | 17000 | 28000 | 160000 | 2200
TDS | mg/l | 162 | 172 | 68 | 290 | 124 | 108 | 44 | 190 | 178 | 268 | 422 | 360 | 422 | 44
TFS | mg/l | 114 | 160 | 60 | 228 | 128 | 158 | 292 | 124 | 146 | 274 | 434 | 362 | 434 | 60
TH as CaCO3 | mg/l | 120 | 124 | 72 | 66 | 49.5 | 45.55 | 59.41 | 87.5 | 76 | 100 | 137.36 | 142.8 | 142.8 | 45.55
TKN | mg/l
TSS | mg/l | 534 | 44 | 306 | 164 | 74 | 96 | 56 | 64 | 44 | 114 | 180 | 170 | 534 | 44
BOD | Bio-Chemical Oxygen Demand | [13 empty] | Source : West Bengal Pollution Control Board
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)