## 13.1.5
Table : 13.1.5
Water Quality in Different Locations of River Bidyadhari during the year 2015-16
Station:D/s of Bidyadhari River at Malancha Burning Ghat | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | 0.116 | 0.541 | 3.47 | 1.07 | 2.12 | 0.697 | 3.47 | 0.116
Arsenic | µg/l | APR: BDL
BOD | mg/l | 1.2 | 13.44 | 11.2 | 16.42 | 8.27 | 7 | 10.75 | 17.27 | 8.5 | 9.18 | 8.2 | 7 | 17.27 | 1.2
Boron | mg/l | 0.5064 | 0.1198 | BDL | BDl | 0.1129 | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0.5064 | 0.1129
COD | mg/l | 36 | 40.36 | 27.54 | 48.9 | 26.5 | 22.4 | 25 | 26.8 | 22 | 25 | 27.66 | 35 | 48.9 | 22
Conductivity | µs/cm | 24900 | 27150 | 7757 | 3133 | 1701 | 3476 | 1633 | 3640 | 5425 | 6940 | 13730 | 7671 | 27150 | 1633
DO | mg/l | 4.6 | 3.7 | 0.6 | 1.1 | 0.7 | 1.3 | 1.5 | 1.1 | 1 | 1.4 | 3.3 | 1.1 | 4.6 | 0.6
FC | MPN/100ml | 23000 | 13000 | 140000 | 220000 | 30000 | 170000 | 30000 | 30000 | 80000 | 14000 | 17000 | 50000 | 220000 | 13000
pH | Unit | 7.68 | 7.64 | 7.75 | 7.45 | 8 | 7.47 | 7.8 | 7.7 | 7.68 | 8.01 | 7.61 | 7.71 | 8.01 | 7.45
Sodium | mg/l | 8388 | 8388 | 2000 | 2000 | 2000 | 2000 | 1000 | 1000 | 1000 | 1000 | 4360 | 4365.9 | 8388 | 1000
TA | mg/l | 160 | 180 | 184 | 132 | 102 | 108 | 190 | 226 | 246 | 254 | 184 | 230 | 254 | 102
TC | MPN/100ml | 50000 | 17000 | 220000 | 280000 | 50000 | 300000 | 50000 | 80000 | 130000 | 22000 | 27000 | 70000 | 300000 | 17000
TDS | mg/l | 18028 | 23696 | 4742 | 2842 | 956 | 1860 | 970 | 1974 | 3640 | 426 | 9184 | 5442 | 23696 | 426
TFS | mg/l | 21900 | 18090 | 4008 | 1898 | 950 | 1684 | 800 | 1758 | 2540 | 3758 | 4304 | 4068 | 21900 | 800
TH as CaCO3 | mg/l | 3300 | 3100 | 950 | 820 | 233.66 | 792.08 | 435.64 | 435.64 | 500.99 | 540 | 1623.76 | 891.09 | 3300 | 233.66
TKN | mg/l
TSS | mg/l | 240 | 640 | 156 | 22 | 158 | 148 | 24 | 108 | 40 | 132 | 232 | 72 | 640 | 22
BOD | Bio-Chemical Oxygen Demand
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)
Table : 13.1.5 (Concld.)
Water Quality in Different Locations of River Bidyadhari during the year 2015-16
Station:U/s of Bidyadhari River at Haroa Bridge | [14 empty] | Use Based Class: A
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 3.97 | 1.442 | BDL | BDL | BDL | BDL | 0.129 | 0.623 | 3.62 | 2.13 | BDL | 9.87 | 9.87 | 0.129
Arsenic | µg/l | APR: BDL
BOD | mg/l | 11.75 | 18.89 | 14.09 | 14.17 | 17.87 | 15.5 | 8.12 | 13.42 | 20 | 28.56 | 25 | 15.47 | 28.56 | 8.12
Boron | mg/l | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | BDL | 0 | 0
COD | mg/l | 39.78 | 39.4 | 30.6 | 36.8 | 36 | 34.4 | 22 | 22.89 | 49 | 50 | 53.35 | 41 | 53.35 | 22
Conductivity | µs/cm | 11770 | 7520 | 4520 | 540.52 | 760 | 1308 | 830.5 | 1857 | 1772 | 1728 | 2248 | 2580 | 11770 | 540.52
DO | mg/l | 1.2 | NIL | 1.2 | 1 | 2.2 | NIL | 1.8 | 1.8 | NIL | NIL | NIL | 2.2 | 2.2 | 1
FC | MPN/100ml | 30000 | 50000 | 27000 | 170000 | 8000 | 33000 | 50000 | 50000 | 30000 | 300000 | 300000 | 130000 | 300000 | 8000
pH | Unit | 7.69 | 7.82 | 7.76 | 7.51 | 7.91 | 7.6 | 7.6 | 7.83 | 7.66 | 7.94 | 7.76 | 7.92 | 7.94 | 7.51
Sodium | mg/l | 194.5 | 1341.6 | 900 | 300 | 400 | 400 | 400 | 400 | 400 | 100 | 235 | 436.59 | 1341.6 | 100
TA | mg/l | 216 | 208 | 224 | 124 | 98 | 100 | 170 | 260 | 256 | 248 | 352 | 280 | 352 | 98
TC | MPN/100ml | 80000 | 170000 | 80000 | 300000 | 13000 | 300000 | 110000 | 70000 | 80000 | 500000 | 500000 | 220000 | 500000 | 13000
TDS | mg/l | 7618 | 5194 | 2952 | 474 | 442 | 606 | 472 | 1016 | 1066 | 958 | 1306 | 1778 | 7618 | 442
TFS | mg/l | 6802 | 4194 | 1776 | 460 | 428 | 312 | 486 | 886 | 852 | 962 |  | 1312 | 6802 | 312
TH as CaCO3 | mg/l | 1480 | 1420 | 660 | 580 | 138.61 | 376.24 | 356.44 | 300.99 | 287.13 | 320 | 376.24 | 396.04 | 1480 | 138.61
TKN | mg/l
TSS | mg/l | 98 | 328 | 192 | 76 | 34 | 304 | 66 | 104 | 108 | 136 | 516 | 110 | 516 | 34
BOD | Bio-Chemical Oxygen Demand | [13 empty] | Source : West Bengal Pollution Control Board
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)