## 13.1.8
Table : 13.1.8
Water Quality of River Jalangi during the year 2015-16
Station: Jalangi, D/s of Krishna Nagar | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.12 | BDL | 0.21 | 0.15 | 0.22 | 0.65 | 1.03 | BDL | 0.16 | 0.23 | 0.14 | 0.63 | 1.03 | 0.12
Arsenic | µg/l | APR: 21.39
BOD | mg/l | 2.5 | 3.35 | 1.7 | 5.9 | 2.64 | 3.71 | 3.86 | 4.1 | 3.2 | 2.71 | 2.1 | 8.3 | 8.3 | 1.7
Boron | mg/l | 0.01 | NT | BDL | NT | NT | 0.16 | 0.1 | NT | NT | NT | NT | NT | 0.16 | 0.01
COD | mg/l | 11.4 | 10.7 | 10.5 | 16.96 | 19.85 | 18.54 | 17.05 | 17.27 | 12.52 | 12.48 | 12.28 | 19.25 | 19.85 | 10.5
Conductivity | µs/cm | 417 | 388 | 366 | 291 | 233 | 270 | 463 | 622 | 713 | 622 | 598 | 612 | 713 | 233
DO | mg/l | 8.7 | 6.45 | 7.7 | 7.4 | 2.6 | 2.2 | 2.4 | 5.4 | 7 | 3.2 | 9.8 | 8.9 | 9.8 | 2.2
FC | MPN/100ml | 70000 | 50000 | 70000 | 80000 | 50000 | 50000 | 70000 | 14000 | 110000 | 80000 | 90000 | 80000 | 110000 | 14000
pH | Unit | 8.42 | 7.93 | 8.29 | 7.85 | 7.61 | 7.89 | 7.91 | 7.73 | 8.05 | 8.23 | 8.01 | 7.92 | 8.42 | 7.61
Sodium | mg/l | 9 | 13 | 17 | 10 | 5 | 8 | 13 | 15 | 11 | 12 | 13 | 10 | 17 | 5
TA | mg/l | 196 | 144 | 182 | 80 | 104 | 112 | 190 | 170 | 236 | 242 | 244 | 248 | 248 | 80
TC | MPN/100ml | 110000 | 70000 | 80000 | 110000 | 70000 | 70000 | 80000 | 17000 | 140000 | 110000 | 110000 | 110000 | 140000 | 17000
TDS | mg/l | 232 | 258 | 242 | 178 | 102 | 138 | 296 | 380 | 436 | 280 | 306 | 196 | 436 | 102
TFS | mg/l | 208 | 232 | 174 | 162 | 92 | 162 | 272 | 312 | 406 | 240 | 272 | 180 | 406 | 92
TH as CaCO3 | mg/l | 199 | 208 | 199 | 162 | 102 | 106 | 109 | 162 | 167 | 241 | 255 | 231 | 255 | 102
TKN | mg/l | 2.06 | 2.14 | 2.24 | 2.04 | 2.24 | 2.46 | 2.74 | 3.74 | 3.96 | 4.06 | 5.02 | 4.88 | 5.02 | 2.04
TSS | mg/l | 18 | 28 | 8 | 8 | 70 | 46 | 42 | 18 | 36 | 16 | 22 | 16 | 70 | 8
BOD | Bio-Chemical Oxygen Demand | [13 empty] | Source : West Bengal Pollution Control Board
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)