## 13.2.10
Table : 13.2.10
Water Quality of Prince Lake at Howrah during the year 2015-16
Station: Prince Lake | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l
Arsenic | µg/l
BOD | mg/l | MAY: 3.5; AUG: 6.6; NOV: 5.35; FEB: 5.5 | 6.6 | 3.5
Boron | mg/l
COD | mg/l | MAY: 9.9; AUG: 27; NOV: 21.56; FEB: 20.4 | 27 | 9.9
Conductivity | µs/cm
DO | mg/l | MAY: 5.2; AUG: 9.3; NOV: 1.9; FEB: 0.8 | 9.3 | 0.8
FC | MPN/100ml | MAY: 800; AUG: 17000; NOV: 23000; FEB: 8000 | 23000 | 800
pH | Unit | MAY: 8.02; AUG: 7.86; NOV: 7.38; FEB: 7.08 | 8.02 | 7.08
Sodium | mg/l
TA | mg/l
TC | MPN/100ml | MAY: 1300; AUG: 110000; NOV: 50000; FEB: 2300000 | 2300000 | 1300
TDS | mg/l
TFS | mg/l
TH as CaCO3 | mg/l
TKN | mg/l
TSS | mg/l
BOD | Bio-Chemical Oxygen Demand | [13 empty] | Source : West Bengal Pollution Control Board
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)