## 13.2.3
Table : 13.2.3
Water Quality of Mirik Lake at Darjeeling during 2015-16
Station: Mirikh Lake | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | NT |  | 0.298 | BDL | BDL | BDL | BDL | 0.107 | 0.151 | 0.401 | BDL | 0.154 | 0.401 | 0.107
Arsenic | µg/l | APR: BDL
BOD | mg/l | 2.1 | 2.8 | 6.75 | 3 | 2.6 | 3.4 | 4.6 | 3 | 5.9 | 3.6 | 3.7 | 2.3 | 6.75 | 2.1
Boron | mg/l | 0.006 | 0.005 | 0.016 | 0.016 | 0.006 | BDL | 0.002 | 0.003 | 0.009 | 0.002 | 0.003 | 0.004 | 0.016 | 0.002
COD | mg/l | 6 | 21.84 | 40.56 | 10.4 | 14 | 15 | 15 | 13.44 | 28.8 | 19 | 23 | 15 | 40.56 | 6
Conductivity | µs/cm | 127.8 | 120.5 | 130 | 90 | 130 | 84.71 | 30.87 | 96.51 | 81.31 | 95.73 | 105.4 | 155.6 | 155.6 | 30.87
DO | mg/l | 8 | 7.8 | 4.4 | 6.7 | 8.5 | 8.3 | 6.8 | 6.8 | 6.6 | 8.8 | 7.6 | 6.9 | 8.8 | 4.4
FC | MPN/100ml | 1700 | 800 | 1700 | 1100 | 2600 | 3300 | 3400 | 14000 | 8000 | 4000 | 400 | 9000 | 14000 | 400
pH | Unit | 6.67 | 6.9 | 7.23 | 7.28 | 7.46 | 7.11 | 6.89 | 7.33 | 7.25 | 7.17 | 7.55 | 6.57 | 7.55 | 6.57
Sodium | mg/l | 8.38 | 4.36 | 11 | 8 | 6 | 5 | 6 | 3 | 12 | 7 | 10.39 | 5.37 | 12 | 3
TA | mg/l | 38 | 42 | 48 | 40 | 44 | 46 | 56 | 46 | 30 | 58 | 52 | 50 | 58 | 30
TC | MPN/100ml | 6000 | 3000 | 3300 | 5000 | 6000 | 11000 | 11000 | 70000 | 50000 | 30000 | 5000 | 170000 | 170000 | 3000
TDS | mg/l | 71 | 90 | 115 | 54 | 66 | 75 | 96 | 59 | 81 | 90 | 112 | 85 | 115 | 54
TFS | mg/l | 30 | 8 | 232 | 50 | 12 | 62 | 58 | 40 | 56 | 110 | 118 | 38 | 232 | 8
TH as CaCO3 | mg/l | 32 | 36 | 30 | 26 | 18 | 34 | 24 | 32 | 60 | 42 | 32 | 52 | 60 | 18
TKN | mg/l
TSS | mg/l | 12 | 38 | 58 | 142 | 38 | 68 | 48 | 66 | 52 | 24 | 40 | 24 | 142 | 12
BOD | Bio-Chemical Oxygen Demand | [13 empty] | Source : West Bengal Pollution Control Board
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)