## 13.2.7
Table : 13.2.7
Water Quality of Sahebbandh Lake at Purulia during the year 2015-16
Station: Saheb Bandh at Purulia | [14 empty] | Use Based Class: C
Parameter | Unit | APR | MAY | JUN | JUL | AUG | SEP | OCT | NOV | DEC | JAN | FEB | MAR | MAX | MIN
Ammonia-N | mg/l | 0.08 | 0.075 | 0.11 | 0.401 | 0.11 | 0.32 | 0.19 | 0.76 | 0.33 | 0.05 | 0.33 | 0.36 | 0.76 | 0.05
Arsenic | µg/l | APR: BDL
BOD | mg/l | 2.2 | 2.1 | 2.2 | 4.1 | 1 | 3.9 | 4.7 | 4.7 | 4.5 | 3.6 | 5.9 | 1.8 | 5.9 | 1
Boron | mg/l | BDL | 0.56 | BDL | BDL | 0.09 | 0.11 | 0.1 | 0.099 | 0.12 | 0.13 | 0.21 | NT | 0.56 | 0.09
COD | mg/l | 14 | 27.65 | 16.32 | 15.63 | 3.64 | 12 | 7.14 | 11.87 | 14.12 | 19.82 | 19 | 4.44 | 27.65 | 3.64
Conductivity | µs/cm | 493 | 478 | 485 | 452 | 431 | 554 | 459 | 496 | 492 | 519 | 515 | 501.7 | 554 | 431
DO | mg/l | 7 | 9.3 | 2.7 | 4.7 | 4.9 | 4.3 | 7 | 6.8 | 5.8 | 10 | 9.2 | 11.8 | 11.8 | 2.7
FC | MPN/100ml | 1300 | 3000 | 22000 | 90000 | 1100 | 1700 | 2600 | 3400 | 1400 | 700 | 30000 | 400 | 90000 | 400
pH | Unit | 7.93 | 8.39 | 7.66 | 7.82 | 8.02 | 7.66 | 7.18 | 8.38 | 7.65 | 7.74 | 7.53 | 8.02 | 8.39 | 7.18
Sodium | mg/l | 46 | 44 | 48 | 43 | 49 | 44 | 56 | 50 | 50 | 39 | 48 | 42 | 56 | 39
TA | mg/l | 140 | 120 | 150 | 150 | 170 | 190 | 220 | 170 | 190 | 210 | 240 | 230 | 240 | 120
TC | MPN/100ml | 2300 | 5000 | 50000 | 160000 | 8000 | 3000 | 3300 | 16000 | 22000 | 2200 | 50000 | 700 | 160000 | 700
TDS | mg/l | 184 | 106 | 280 | 184 | 168 | 334 | 300 | 346 | 260 | 250 | 288 | 168 | 346 | 106
TFS | mg/l | 92 | 62 | 110 | 166 | 126 | 244 | 182 | 190 | 246 | 158 | 244 | 150 | 246 | 62
TH as CaCO3 | mg/l | 170 | 170 | 170 | 150 | 130 | 170 | 160 | 180 | 120 | 150 | 130 | 140 | 180 | 120
TKN | mg/l
TSS | mg/l | 20 | 18 | 10 | 10 | 10 | 16 | 14 | 28 | 134 | 74 | 20 | 14 | 134 | 10
BOD | Bio-Chemical Oxygen Demand | [13 empty] | Source : West Bengal Pollution Control Board
COD | Chemical Oxygen Demand
DO | Dissolved Oxygen
FC | Faecal Coliform
TA | Total Alkalinity
TC | Total Coliform
TDS | Total Dissolved Solids(TDS)
TFS | Total Fixed Solids(TFS)
TH as CaCO3 | Total Hardness as CaCO3
TKN | Total Kjeldahl Nitrogen(TKN)
TSS | Total Suspended Solids(TSS)