## 21.13
Table : 21.13
Air & Water Pollution Control Systems for Environment Management of Thermal Power Plants in West Bengal
Station Name | Electrostatic Precipitators | Flue Gas Stacks | Low-NOX Burners | Neutralization Pits | Coal Settling Pits/Oil Settling Pits | DE & DS Systems Cooling Tower | Ash Dykes & Ash Disposal Systems | Ash Water Recirculation System | Dry Ash Extraction System | Liquid Waste Treatment Plants & Management System | Sewage Treatment Plants & Management System | Environmental Institutional Set-up
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
WBPDCL
Kolaghat Thermal Power Station (KTPS) | Available & Running | Available & Running | available at unit no. 5&6 | Available & Running | Available & Running | Not Available | Available & Running | Available & Running | Available & Running | Available & Running | Not Available | Available
Bakreswar Thermal Power Projects (BkTPP) | Available & Running | Available & Running | Construction underprocess | Available & Running | Coal settling pits available no oil settling pits | Not Available | Available & Running | Available & Running | Available & Running | Three effluent water treatment systems are working | Septic tanks and soak pits are available | Available
Bandel Thermal Power Station (BTPS) | Available & Running | Available & Running | Available in Unit No #5 | Available & Running | Available & Running | Under planning | Available & Running | Unavailable | Available & Running | Canteen ETP at Plant & sewage treatment plant. | Available at township | Available
Santaldih Thermal Power Station (STPS) | Available & Running | Available & Running | Available & Running | Available & Running | Available & Running | Available & Running | Available & Running | Available & Running | Available & Running | All effluents from different sources finally comes to ETP | Available at township | Available
Sagardighi Thermal Power Project (SgTPP) | Available & Running | Available & Running | Available & Running | Available & Running | Available & Running | Not Available | Available & Running | Available & Running | Available & Running | Available at plant only | Available | Not Available
Table : 21.13(Concld.)
Air & Water Pollution Control Systems for Environment Management of Thermal Power Plants in West Bengal
Station Name | Electrostatic Precipitators | Flue Gas Stacks | Low-NOX Burners | Neutralization Pits | Coal Settling Pits/Oil Settling Pits | DE & DS Systems Cooling Tower | Ash Dykes & Ash Disposal Systems | Ash Water Recirculation System | Dry Ash Extraction System | Liquid Waste Treatment Plants & Management System | Sewage Treatment Plants & Management System | Environmental Institutional Set-up
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
DVC
Mejia Thermal Power Station (MTPS) | Yes | Yes | U#1-6: No u#7&8: Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No
Durgapur Thermal Power Station (DTPS) | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | No | Yes | No
Durgapur Steel Thermal Power Station (DSTPS) | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | No
CESC
Budge Budge Generating Station | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes
Southern Generating Station | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes
Titagrh Generating Station | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes
NTPC
Farakka STPS | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes
[7 empty] | Sources : | West Bengal Power Development Corporation Ltd.
Damodar Vally Corporation
Calcutta Electric Supply Corporation
National Thermal Power Corporation