## 21.14
Table : 21.14
Environment Management Systems of Thermal Power Plants in West Bengal
Station Name | Environment Management during Operation Phase | Monitoring of Environmental Parameters | On-Line Data Base Management | Environment Review | Up-gradation & Retrofitting of Pollution Control Systems | Resources Conservation | Municipal Waste Management | Hazardous Waste Management | Bio-Medical Waste Management | Land Use/Bio-diversity | Reclamation of abandoned Ash ponds | Green Belts, Afforestation & Energy Plantations
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
WBPDCL
Kolaghat Thermal Power Station (KTPS) | ESP remains in service of all uints | Done monthly basis | unit.2 to 6 - Opacity meter are in service | Under Process | Available & Running | AS per norms, it will be implemented time to time | Not applicable | Done | Not applicable | Not applicable | Done | Done Periodically
Bakreswar Thermal Power Projects (BkTPP) | Esp remains in service in all units. | Done monthly basis | Available | Under Process | Available & Running | Under Process | Not Available. BkTPS is working with its own WM arrangment. | Done | Available | Not applicable | not yet required. | Done Periodically
Bandel Thermal Power Station (BTPS) | Esp remains in service in all units. | Done monthly basis | In unit #1-4 opacity monitor are in service. SOX, NOX, CO analyser is installed. | Under Process | Available & Running | As per norms, it will be implemented time to time. | Disposed through Bansberia Municipality. | Done. | Not applicable |  | Under Process | Done Periodically
Santaldih Thermal Power Station (STPS) | Esp remains in service in all units. | Done monthly basis | Available | Environmental Audit done. | Available & Running | As per norms, it will be implemented time to time. | Available | Under Process | Not applicable | Available | not yet required. | Done Periodically
Sagardighi Thermal Power Project (SgTPP) | Available | Done monthly basis | Partially available | As per statutory rules | To be conducted on demand | Available | Not applicable | Available | Not Available | Not available | Not arises | Done Periodically
Table : 21.14(Concld.)
Environment Management Systems of Thermal Power Plants in West Bengal
Station Name | Environment Management during Operation Phase | Monitoring of Environmental Parameters | On-Line Data Base Management | Environment Review | Up-gradation & Retrofitting of Pollution Control Systems | Resources Conservation | Municipal Waste Management | Hazardous Waste Management | Bio-Medical Waste Management | Land Use/Bio-diversity | Reclamation of abandoned Ash ponds | Green Belts, Afforestation & Energy Plantations
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
DVC
MTPS | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes
DTPS | Yes | Yes | Under Process | Yes | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes
DSTPS | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | Yes | No | Yes
CESC
Budge Budge Generating Station | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | NA | Yes
Southern Generating Station | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | NA | Yes
Titagrh Generating Station | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes | No | NA | Yes
NTPC
Farakka STPS | Yes | Yes | Yes | Yes | Yes | Yes | No | Yes | Yes |  | Yes | Yes
[7 empty] | Sources : | West Bengal Power Development Corporation Ltd.
Damodar Vally Corporation
Calcutta Electric Supply Corporation
National Thermal Power Corporation